## Sheet1
Design Life Calcuation Worksheet - Drinking Water Projects
For Loan Terms greater than 20 Years
Wisconsin Department of Natural Resources
Municipality:
Project Number:
Form completed by:
Category I - Transmission & Distribution Pipes |  | Design Life = 50 years or Less
Asset | Cost Estimate (dollars) | x Asset Design Life | = Extension
0
0
0
0
Category II - Wells and Springs |  | Design Life = 25 - 30 Years or Less
Asset | Cost Estimate (dollars) | x Asset Design Life | = Extension
0
0
Category III - Buildings, Tanks, and Other Structures |  | Design Life = 30 - 50 Years or Less
Asset | Cost Estimate (dollars) | x Asset Design Life | = Extension
0
0
0
0
Category IV - Process Equipment, Pumps & Meters |  | Design Life = 10 - 15 Years or Less
Asset | Cost Estimate (dollars) | x Asset Design Life | = Extension
0
0
0
0
0
Category V - Auxiliary Equipment |  | Design Life = 15 Years or Less
Asset | Cost Estimate (dollars) | x Asset Design Life | = Extension
0
0
0
0
0
Category VI - Valves & Hydrants |  | Design Life = 35-40 Years or Less
Asset | Cost Estimate (dollars) | x Asset Design Life | = Extension
0
0
0
0
Category VII - Reservoirs, Landscaping & Grading |  | Design Life = 40 Years or Less
Asset | Cost Estimate (dollars) | x Asset Design Life | = Extension
0
0
Totals | 0 | #DIV/0! | 0
| Loan Term (30 year max.) | #DIV/0!
See Instructions Below
Instructions:
1. Provide a brief description of the Asset in the appropriate Category. Multiple assets may be listed. All construction costs must be included.
2. Enter the Cost Estimate for the Asset.
3. Enter the Design life for each asset in the "x Asset Design Life" column. The Design life of each individual asset within a category shall not exceed the Design Life listed for that category. Each asset should be evaluated on individual basis. The applicant should not assume that each individual asset listed can achieve the maximum Design life listed.
4. Other Design life periods are acceptable when sufficient justification can be provided.
5. The "= Extension" column will automatically be calculated by determining the product of the "Cost Estimate" and the "Asset Design Life" columns.
6. The Totals row is the sum of the values in the "Loan Value" column and the sum of the values in the "= Extension" column.
7. The value of the "x Asset Design Life" column in the "Totals" row is the weighted average of the "= Extension" column and the "Cost Estimate" column.
8. The Loan Term value is the minimum value of the weighted average "x Asset Design Life" column or a a maximum of 30 years.
9. In the event that additional assets are required in each category use the insert and copy functions of Excel. Insert the number of additional rows required in each category. Copy the equation found in the "= Extension" column to the empty cells.
Life Span of Auxilary & Miscellaneous Equipment*
Electrical Systems/SCADA | 7 - 10 years |  | *Information from USEPA Publication EPA 816--R-03-016
Transportation Equipment | 10 years
Computers | 5 years
Lab/Monitoring Equipment | 5 - 7 years
Tools & Shop Equipment | 10 - 15 years |  | *USEPA Construction Grants 1985 430-9-84-004
Communications Equipment | 10 years
Typical Equipment Life Expectancy Yrs
Source of supply
Intake Structures | 35 – 45
Wells and Springs | 25 – 35
Galleries and Tunnels | 30 – 40
Transmission Mains | 35 – 40
Plants
Structures | 30 – 60
Equipment | 10 – 15
Chlorination Equipment | 10 – 15
Pumping Equipment | 10 – 15
Transmission/Distribution
Structures | 30 – 60
Reservoirs and Tanks | 30 – 60
Mains & Distribution Pipes | 35 – 40
Valves | 35 – 40
Backflow Prevention Valves | 35 – 40
Blow-off Valves | 35 – 40
Meters | 10 – 15
Hydrants | 30 – 60